## Maintenance Projects
Please note: - Estimates are from the Office of Buildings and Grounds. Verification will be needed PRIOR to budget designation. - Projects are listed in alphabetical order.
|  | Maintenance Concerns |  |  |  |  | In-House Repair Estimate(s) | Scheduled for 2009
EE = Energy Efficient / PI = Protect Investment
Project Name & School(s) | Estimate(s) | Safe | Warm | Dry | EE | PI
A/C | 765000
SAMHS (Library) |  |  | X |  | X |  | 5000
WCCC | 765000
Asbestos | 1507000
WAHS Lobby | 7000 | X
WAHS | 1500000 | X
Auditorium Improvements | 222000
District Wide (seating) | 200000 |  |  |  |  | X
EMHS (sound) | 11000 | X |  |  | X
WAHS (sound) | 11000 | X
Bell System | 60000
EMHS |  | X |  |  |  |  | 5000
Bleachers
WAHS (replace balcony bleachers) |  | X
Blinds | 50000
BWMS |  |  | X
EMHS |  |  | X
SES |  |  | X
WAHS |  |  | X
Boilers | 587000
BWMS (78%) | 151000 |  |  |  | X
EMHS (78%) | 123000 |  |  |  | X
SAMHS (80%) | 123000 |  |  |  | X
SGES (80%) | 67000 |  |  |  | X
YHS (80%) | 123000 |  |  |  | X
Cameras | 60000
AVES (Outdoor Security) | 15000 | X
BWMS | 15000 | X
EMHS (outdoors and upstairs) | 15000 | X
SAMHS | 15000 | X
Carpet / Flooring | 95000
BWMS (Upstairs) |  | X | [5 empty] | Scheduled
BWMS (Stairs) |  | X
AVES |  | X
LEC |  | X
SAMHS |  | X
SGES (halls) |  | X |  |  |  |  | 3500
WAHS |  | X
WCCC |  | X
YHS |  | X
Ceiling Tile Replacement | 10000
SGES (ceiling, classrooms) | 10000 | X
YHS (101, 210 floor) |  | X
Clock System | 135000
SSELC | 60000 | X
YHS | 75000
Doors / Jams | 103000
BWMS (exterior) | 45000 | X | X |  | X
SGES (exterior) | 10000 | X | X |  | X
SSELC (exterior) | 25000 | X
SSELC (public restrooms) | 8000 | X
WAHS (lobby) | 15000 | X | X | X | X
Elevator | 70000
EMHS | 70000
Emergency Power (Generators) | 270000
BWMS | 60000 |  | X
SGES | 45000 |  | X
SSELC | 45000 |  | X
YEMS | 60000 |  | X
YHS | 60000 |  | X
Exterior Systems | 410000
SAMHS Aluminum Panel / Drip | 60000 |  |  | X | X | X
WAHS Curtain Wall | 350000 | X | X | X | X | X
Fire Alarms | 193000
SES | 54000 | X | [5 empty] | Scheduled
SGES | 72000 | X | [5 empty] | Scheduled
SSELC | 67000 | X | [5 empty] | Scheduled
Freezer Replacements | 85000
SAMHS (walk-in cooler & freezer) | 45000 |  |  |  | X
YHS (walk-in cooler & freezer) | 40000 |  |  |  | X
Insulate Attic | 30000
BWMS | 30000 |  | X |  | X
Interior Lighting | 96600
BWMS (gym) | 12500 |  |  |  |  | X |  | Scheduled
BWMS (Aux. gym) | 5000 | [6 empty] | Scheduled
EMHS (gym) | 11000 | [6 empty] | Scheduled
SAMHS (gym) | 16000 | [6 empty] | Scheduled
SAMHS (aux. gym) | 1500 | [6 empty] | Scheduled
SES (multi-purpose room) | 4400 | [6 empty] | Scheduled
WAHS (gym) | 11000 |  |  |  |  | X |  | Scheduled
WAHS (wrestling room) | 4000 |  |  |  |  | X |  | Scheduled
WAHS (cafeteria) | 3200 | [6 empty] | Scheduled
YHS (gym) | 11000 | [6 empty] | Scheduled
YHS (aux gym) | 5000 | [6 empty] | Scheduled
YHS (cafeteria) | 12000 | [6 empty] | Scheduled
Lockers | 313600
BWMS | 67560 |  |  |  |  | X
EMHS | 66360 |  |  |  |  | X
SAMHS | 44280 |  |  |  |  | X
SAMHS (Boys' Locker Room) | 25000 | X
WAHS | 110400 |  |  |  |  | X
Outdoor Lighting | 15000
EMHS (teachers' parking lot) | 10000 | X
SAMHS (outdoor building) | 5000 | X
Parking | 50000
SGES (add more spaces) | 50000 | X
YEMS (additional parking / new drive) |  | X
YEMS (move basketball hoops to create more space)
Paving | 250000
AVES | [5 empty] | X
EMHS
SES |  | X
WCCC | [5 empty] | X
YEMS |  | X
Piping (for Heating) | 2482000
BWMS | 74000 |  |  |  | X
EMHS | 2200000 |  |  |  | X
SAMHS | 74000 |  |  |  | X
SGES | 60000 |  |  |  | X
YHS | 74000 |  |  |  | X
Plaster Repairs | 5000
BWMS | 5000 | X |  | X
Roof Ventilation | 53000
BWMS | 53000 |  |  |  |  | X
Room Renovation | 223500
BWMS (Consumer Science) | 5000 | X
BWMS (Science - upgrade gas lines) | 10000 | X |  |  | X
EMHS (front restrooms) | 10000 | X
EMHS (chemistry / biology labs) | 100000
SGES (girls' restrooms) | 3500 | X
SGES (put restroom in Kindergarten classrooms) | 10000
SGES (kitchen) |  | X
SSELC (upstairs restrooms) | 30000 | X
SSELC (kitchen) | 25000 |  |  |  | X
WAHS (boys' locker room - leaking problem) |  |  | X | X |  |  | 5000
WAHS (first & second floor restrooms) | 30000 | X
YHS (main office)
YHS (guidance office) |  | X
Telephone Systems | 205000
BWMS | 60000 | X
EMHS | 55000 | X
WAHS | 90000 | X
Water Heaters
AVES
BWMS
EMHS
RES
SAMHS
SES
SGES
WCCC
Tech Center
WAEC
WAHS
YEMS
YHS
Windows | 4800000
BWMS | 1500000 |  |  |  | X
EMHS | 1500000 |  |  |  | X
SAMHS | 250000 |  |  |  | X
SES | 150000 |  |  |  | X
SGES | 200000 |  |  |  | X |  |  | Scheduled
SSELC | 100000 |  |  |  | X
WAHS | 900000 |  |  |  | X
WCCC | 200000 |  |  |  | X
YHS |  |  |  |  | X
Metal Detectors | 70000
District Wide | 70000 | X
Estimate for All Projects: | 13215700 | [5 empty] | 18500

## Material Requests
Please note: - Requests are listed in alphabetical order by name of item / equipment.
Concerns
EE = Energy Efficient / PI = Protect Investment
Equipment Requested and School(s) | Estimate(s) | Safe | Warm | Dry | EE | PI
Area Rugs
SES (7 ft. x 9 ft.) |  |  |  |  | X
Auditorium Curtains
SAMHS | 5000
Adjustable Lift Desks
RES (45) | 4900 | X
Basketball Backstop
SGES
Cafeteria Tables
RES (4) |  | X
Carpet Runners
SGES |  | X |  | X
Chairs
RES (20 at 14") | 1100 | X
RES (25 at 16") | 1325 | X
Dividing Curtain
YEMS (room 401)
YHS (room 221 / 222)
Dryer
SAMHS |  |  |  |  | X
Heater Covers
SGES |  | X
Kiln
EMHS (repair / replace) | 3500 | X |  |  | X
Portable Classrooms
SGES |  | X |  |  | X
Projectors
AVES |  |  |  |  | X
SES |  |  |  |  | X
SmartBoards
AVES |  |  |  |  | X
SES |  |  |  |  | X
Wall Mats
WAHS (gym) | 2500 | X