## Slide 1
Warren County School District
Facility Assessments Overview
February 22, 2021
Warren County School District Facility Assessments Study
Warren County School District

## Slide 2
Facility Assessments
Warren County School District Facility Assessments Study
Warren County School District
Warren Elementary Center
Beaty-Warren Middle School
Youngsville Elementary School
Eisenhower K-12 School
Sheffield K-12 School
Youngsville Middle/High School
Warren Area High School
Warren County Career Center
Notes: The common theme of all the data presented points towards Healthcare.
Manufacturing continues to be large employer
Students expressed the most interest in Child Care, Diesel Tech, and Cosmetology.
The interests of the regional businesses push for Healthcare, Business/Accounting, Welding, Food Production, Computer Maintenance, and Machine Technology.

## Slide 3
Warren Elementary Center
Warren County School District Facility Assessments Study
Warren County School District
Chart: Implementation Years
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 3364272.4858 | 3364272.4858 | 3364272.4858 | 3364272.4858 | 3364272.4858
6 - 10 Years | 381204.3726 | 381204.3726 | 381204.3726 | 381204.3726
11 - 15 Years | 1695104.6531 | 1695104.6531 | 1695104.6531
16 - 20 Years | 4224916.7929 | 4224916.7929
Over 20 Years | 210068.1167
Masonry Repointing
VCT Flooring and Rubber Base
Interactive Whiteboards
Food Service Equipment
Unit Ventilators
11-15 Years
Interior Painting
Sheet Carpeting
Domestic Water Heaters
Inline Hydronic Pumps
Rooftop Units
Asphalt Paving
Concrete Sidewalks
Membrane Roofing
0-5 Years
Domestic Water Pumps
Drinking Fountains
Fiber Backbone
6-10 Years
Limestone Sill Restoration
Aluminum Windows
Door Hardware
Acoustical Ceiling Tiles
Visual Display Boards
Signage
Boilers
16-20 Years
Library Stacks
Plumbing Trim
Exit Lighting
Exterior Lighting
Beyond 20 Years

## Slide 4
Chart: Implementation Years
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 3112543.9351 | 3112543.9351 | 3112543.9351 | 3112543.9351 | 3112543.9351
6 - 10 Years | 5282680.1621 | 5282680.1621 | 5282680.1621 | 5282680.1621
11 - 15 Years | 429323.4033 | 429323.4033 | 429323.4033
16 - 20 Years | 3432004.7851 | 3432004.7851
Over 20 Years | 2137021.2743
Youngsville Elementary School
Warren County School District Facility Assessments Study
Warren County School District
Masonry Repointing
EIFS Repair
VCT, Carpet & Rubber Base
Food Service Equipment
Fire Suppression System
MEP Equipment
Asphalt and Concrete Paving
0-5 Years
Exterior Doors
Door Hardware
Interior Painting
ACT Ceilings
Lockers
Visual Display Boards
Electrical System Update
6-10 Years
Interactive Whiteboards
11-15 Years
Library Shelving
Playground Equipment
Casework
Fiber Backbone
Plumbing System Update
HVAC System Update
16-20 Years
Wood Doors
PA & Clock System
Telephone System
Security System
Beyond 20 Years

## Slide 5
Chart: Implementation Years
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 715749.0227 | 715749.0227 | 715749.0227 | 715749.0227 | 715749.0227
6 - 10 Years | 684272.1714 | 684272.1714 | 684272.1714 | 684272.1714
11 - 15 Years | 791375.7901 | 791375.7901 | 791375.7901
16 - 20 Years | 3054653.0189 | 3054653.0189
Over 20 Years | 3553398.5084
Beaty-Warren Middle School
Warren County School District Facility Assessments Study
Warren County School District
Door Hardware
Acoustical Ceiling Tile
Lockers
Visual Display Boards
Plumbing Fixtures
Boilers
Lighting
Beyond 20 Years
Interior Painting
Wood Athletic Flooring
Stage Curtains
0-5 Years
Sheet Carpeting
Domestic Water Heaters
Domestic Water Pumps
Cabinet Unit Heaters
Inline Hydronic Pumps
Asphalt Paving
Concrete Sidewalks/Curbs
6-10 Years
Interactive Whiteboards
Expansion Tank
Fan Coil Unit
HVAC Fans
Make-Up Air Units
Auditorium Dimming Panel
Fiber Backbone
11-15 Years
Masonry Repointing
VCT Flooring and Rubber Base
Food Service Equipment
Fire Suppression System
Air Handling Units
Unit Ventilators
16-20 Years

## Slide 6
Chart: Implementation Years
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 1039164.4877 | 1039164.4877 | 1039164.4877 | 1039164.4877 | 1039164.4877
6 - 10 Years | 1207423.5759 | 1207423.5759 | 1207423.5759 | 1207423.5759
11 - 15 Years | 2074740.3092 | 2074740.3092 | 2074740.3092
16 - 20 Years | 3751703.5888 | 3751703.5888
Over 20 Years | 5164195.6553
Masonry Repointing
Interior Painting
Locker Room Showers
Sump Pumps
0-5 Years
Sheet Carpeting
Domestic Water Heaters
Domestic Water Pumps
Inline Pumps
Auditorium Dimming Panel
Asphalt Paving
Concrete Curbs/Sidewalks
6-10 Years
Metal Panels
Interactive Whiteboards
Expansion Tank
HVAC Fans
Make-Up Air Unit
Rooftop Unit
Heat Pumps
Fiber Backbone
11-15 Years
Masonry Repointing
VCT/Rubber Base
Food Service Equipment
Fire Suppression System
Drinking Fountains
Air Handling Units
Unit Ventilators
16-20 Years
Roof Replacement
ACT
Doors and Hardware
Windows
Visual Display Boards
Casework
Boilers
Beyond 20 Years
Eisenhower K-12 School
Warren County School District Facility Assessments Study
Warren County School District

## Slide 7
Chart: Implementation Years
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 15381498.9333 | 15381498.9333 | 15381498.9333 | 15381498.9333 | 15381498.9333
6 - 10 Years | 147853.4241 | 147853.4241 | 147853.4241 | 147853.4241
11 - 15 Years | 262310.5061 | 262310.5061 | 262310.5061
16 - 20 Years | 933457.5419 | 933457.5419
Over 20 Years | 1517873.3244
Sheffield K-12 School
Warren County School District Facility Assessments Study
Warren County School District
Ceiling Finishes - Addition
Membrane Roofing - Addition
Storefront
Door Hardware
Light Tubes
Visual Display Boards
Plumbing Fixtures
Beyond 20 Years
Masonry Repointing
MHS EPDM Roof (scheduled)
Doors and Hardware
Window Replacement
Wall, Ceiling & Floor Finishes
Lockers
Food Service Equipment
MEP System Updates
0-5 Years
Asphalt Paving
Concrete Sidewalks and Curbs
6-10 Years
Metal Panels
Interactive Whiteboards
Exterior Site Lighting
11-15 Years
Masonry Repointing
Rubber Base and VCT Flooring
Fire Suppression System
Drinking Fountains
Roof Drains
16-20 Years

## Slide 8
Chart: Implementation Years
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 18171525.4949 | 18171525.4949 | 18171525.4949 | 18171525.4949 | 18171525.4949
6 - 10 Years | 1075293.9154 | 1075293.9154 | 1075293.9154 | 1075293.9154
11 - 15 Years | 532345.1992 | 532345.1992 | 532345.1992
16 - 20 Years | 620847.949 | 620847.949
Over 20 Years | 419832.0697
Door Hardware
Boilers
Beyond 20 Years
Youngsville High School
Warren County School District Facility Assessments Study
Warren County School District
Masonry Repointing
Exterior Doors and Storefront
Windows
Interior Finishes
Food Service Equipment
MEP System Updates
Asphalt and Concrete Sitework
0-5 Years
Interior Painting
Lockers
Casework
Refurbish Auditorium Seating
6-10 Years
Interactive Whiteboards
Roof Drains
Security System Update
11-15 Years
1985 Wood Doors
Hydronic Pumps
Fire Alarm System
16-20 Years

## Slide 9
Chart: Warren EC
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 3364272.4858 | 3364272.4858 | 3364272.4858 | 3364272.4858 | 3364272.4858
6 - 10 Years | 381204.3726 | 381204.3726 | 381204.3726 | 381204.3726
11 - 15 Years | 1695104.6531 | 1695104.6531 | 1695104.6531
16 - 20 Years | 4224916.7929 | 4224916.7929
Over 20 Years | 210068.1167
Chart: Youngsville ES
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 3112543.9351 | 3112543.9351 | 3112543.9351 | 3112543.9351 | 3112543.9351
6 - 10 Years | 5282680.1621 | 5282680.1621 | 5282680.1621 | 5282680.1621
11 - 15 Years | 429323.4033 | 429323.4033 | 429323.4033
16 - 20 Years | 3432004.7851 | 3432004.7851
Over 20 Years | 2137021.2743
Chart: Eisenhower K-12
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 1039164.4877 | 1039164.4877 | 1039164.4877 | 1039164.4877 | 1039164.4877
6 - 10 Years | 1207423.5759 | 1207423.5759 | 1207423.5759 | 1207423.5759
11 - 15 Years | 2074740.3092 | 2074740.3092 | 2074740.3092
16 - 20 Years | 3751703.5888 | 3751703.5888
Over 20 Years | 5164195.6553
Chart: Sheffield K-12
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 15381498.9333 | 15381498.9333 | 15381498.9333 | 15381498.9333 | 15381498.9333
6 - 10 Years | 147853.4241 | 147853.4241 | 147853.4241 | 147853.4241
11 - 15 Years | 262310.5061 | 262310.5061 | 262310.5061
16 - 20 Years | 933457.5419 | 933457.5419
Over 20 Years | 1517873.3244
Summary
Warren County School District Facility Assessments Study
Warren County School District

## Slide 10
Chart: Warren Area HS
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 0 | 0 | 0 | 0 | 0
6 - 10 Years | 699955.1491 | 699955.1491 | 699955.1491 | 699955.1491
11 - 15 Years | 158181.6015 | 158181.6015 | 158181.6015
16 - 20 Years | 1005427.5082 | 1005427.5082
Over 20 Years | 3376561.2776
Chart: Warren County Career Center
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 0 | 0 | 0 | 0 | 0
6 - 10 Years | 282543.2141 | 282543.2141 | 282543.2141 | 282543.2141
11 - 15 Years | 494347.8161 | 494347.8161 | 494347.8161
16 - 20 Years | 1032227.1339 | 1032227.1339
Over 20 Years | 2443277.6417
Chart: Youngsville MHS
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 18171525.4949 | 18171525.4949 | 18171525.4949 | 18171525.4949 | 18171525.4949
6 - 10 Years | 1075293.9154 | 1075293.9154 | 1075293.9154 | 1075293.9154
11 - 15 Years | 532345.1992 | 532345.1992 | 532345.1992
16 - 20 Years | 620847.949 | 620847.949
Over 20 Years | 419832.0697
Chart: Beaty-Warren MS
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 715749.0227 | 715749.0227 | 715749.0227 | 715749.0227 | 715749.0227
6 - 10 Years | 684272.1714 | 684272.1714 | 684272.1714 | 684272.1714
11 - 15 Years | 791375.7901 | 791375.7901 | 791375.7901
16 - 20 Years | 3054653.0189 | 3054653.0189
Over 20 Years | 3553398.5084
Summary
Warren County School District Facility Assessments Study
Warren County School District

## Slide 11
Chart: Cumulative
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
0 - 5 Years | 41784754.372 | 41784754.372 | 41784754.372 | 41784754.372 | 41784754.372
6 - 10 Years | 9761226.0098 | 9761226.0098 | 9761226.0098 | 9761226.0098
11 - 15 Years | 6437728.691 | 6437728.691 | 6437728.691
16 - 20 Years | 18055239.2311 | 18055239.2311
Over 20 Years | 18822229.3805
Chart: Per Implementation Period
| 0-5 | 0-10 | 0-15 | 0-20 | Over 20
6 - 10 Years | 41784754.372 | 9761226.0098 | 6437728.691 | 18055239.2311 | 18822229.3805
Summary
Warren County School District Facility Assessments Study
Warren County School District
Avg. Annual Spending:
$18,972,235.54
Average
Trend