Architectural Proposal and Estimate:

WAHS Curtain Wall Replacement

Option One:

- Remove existing windows, replace windows and install new brick façade

- including metal stud and drywall finish on interior walls

35,000 ft2 x $94.00 ft2 = $3,290,000.00

Option Two:

- Remove and replace existing curtain wall

35,000 ft2 x $50.00 ft2 = $1,750,000.00

Option Three:

- remove existing glass and panels

- reuse existing aluminum framework

- replace glass and panels at 25/75 ratio rather than existing ratio of 64/36

8,750 ft2 glass x $21 ft2 	= $183,750.00

+ 	26,250 ft2 panel x $ 27 ft2 	= $708,750.00

= $892,500.00